## 1112-639
[26 empty] | 1019_1 | Better Builder
[26 empty] | 1019_2 | TMH Construction
1044
[24 empty] | Job # | 1112 | 1072_14 | Maple Reinders | Annacis Island Waste Water Treatment Plant | 1351 Lindsey Place, Delta
[24 empty] | Date | 2022-08-27 | 1072_17 | Three O Six | Greenhouse | 4526 80 St Delta, BC
[24 empty] | Ticket # | 83313371 | 1100 | Urban One Builders | ParkWest | 1633 Capilano Rd, North Vancouver
[24 empty] | Truck # | 60410 | 1101 | Wesgroup Contracting | River District Parcel 16.2 | 3438 Sawmill Crescent, Vancouver
[24 empty] | Load Vol. | 10 | 1102_2 | The Haebler Group | Wall House | 4475 W 1st Ave, Vancouver
ON-SITE CONCRETE REPORT | [23 empty] | Cumulative Vol. | 90 | 1102_3 | The Haebler Group | TOMO on Main | 198 Ontario Pl., Vancouver
|  |  | (CSA A23.2-9c) | [18 empty] | CR3/17 |  | Total Vol. | 330 | 1105 | Lark Group | Legion Veterans Village | 10626 City Pkwy, Surrey
| CLIENT NAME |  |  |  | PROJECT LOCATION | [13 empty] | DATE |  |  |  |  | Supplier | Lafarge | 1106 | Urban One Builders | One Central | 13350 Central Ave, Surrey
| EllisDon Corporation |  |  |  | 650 W 41st Ave, Vancouver | [13 empty] | 2022-08-27 |  |  |  |  | Mix # | RMXGG25W31V | 1110 | Centreville Construction | Brentwood 1B | 4828 Lougheed Hwy, Burnaby
| TICKET NO. | 83313371 |  |  | TRUCK NO. |  |  | 60410 |  |  | JOB NO. |  | 1112 |  |  | Oakridge P1NW | [7 empty] | Spec Strength | 25 | 1112 | EllisDon Corporation | Oakridge P1NW | 650 W 41st Ave, Vancouver
| LOAD VOL. | 10 |  | m3 | CUM VOL. |  |  | 90 |  | m3 | TOTAL VOL. |  | 330 |  | m3 | SUPPLIER |  |  | Lafarge |  |  |  |  | Days | 28 | 1112_2 | Kanin Construction | Oakridge Building 1 & 2 | 650 W 41st Ave, Vancouver
| MIX NO. | RMXGG25W31V |  |  | SPEC. STRENGTH |  |  | 25 |  | MPa | DAYS |  | 28 | [5 empty] | AGG. SIZE |  | 20 |  | mm | Aggregate Size | 20 | 1113 | EllisDon Corporation | Oakridge P1NE | 650 W 41st Ave, Vancouver
| ADMIXTURE | 909016 |  |  | DOSAGE |  |  | 1 |  | lit/m3 | MOULD SIZE (") |  |  | 4x8 | MOULD TYPE |  |  | Plastic | BOX TYPE |  | Uninsulated |  |  | Admixture | 909016 | 1114 | EllisDon Corporation | Oakridge P1S | 650 W 41st Ave, Vancouver
| SPEC. SLUMP | 110 | ±20 | mm | SPEC. AIR |  |  | 2 (1 ~ 4) |  | % | AMBIENT TEMP. |  |  | Max: | 18 | Min: | 16 | °C | FIELD CURING BOX TEMP. |  |  |  |  | Dosage | 1 | 1115 | Polygon Construction | Sophora | 1182 Westwood St, Coquitlam
| MEAS. SLUMP | 130 |  | mm | MEAS. AIR |  |  | 2.6 |  | % | CONCRETE TEMP. |  |  |  | 25.5 | °C |  |  | Max: |  | Min |  | °C | Mould Size | 4x8 | 1116_1 | Centreville Construction | Galleria Lot 1 | 8668 Hazelbridge Way, Richmond
| SAMPLE TIME | 8:30 |  |  | CAST TIME |  |  | 8:40 |  |  | BATCH TIME |  |  | 7:51 |  | INITIAL |  | H.Y | SET NO. |  | 639 |  |  | Mould Type | Plastic | 1116_2 | Centreville Construction | Galleria Lot 2 | 3328 No. 3 Rd, Richmond
| POUR DETAILS (STRUCTURE, LEVEL, GRIDLINES) |  |  |  | Zone16 Footing GL CB/C13 | [18 empty] | Box Type | Uninsulated | 1120 | Wesgroup Contracting | Brewery District Building 7 | 268 Nelson's Court, New Westminster
| COMMENTS | [22 empty] | Spec Slump | 110 | 1123 | Syncra Construction | Ovation | 823 Carnarvon St, New Westminster
[24 empty] | Slump Tolerance | ±20 | 1124 | Lark Group | Dogwood Facility | 700 W 57th Ave., Vancouver
| NO. OF SAMPLES |  | 3 |  |  | A |  | B |  | C |  | D |  | E |  | Field Cured |  | Field Cured |  | Field Cured |  | Field Cured |  | Spec Air | 2 (1 ~ 4) | 1126 | Lark Group | 150 W 4th | 150 W 4th Ave, Vancouver
| AGE OF SAMPLES |  | 28 |  |  | 7 | days | 28 | days | 28 | days | [12 empty] | Measured Slump | 130 | 1127 | MetroCan Construction | Soleil | 1588 Johnston Rd, White Rock
[24 empty] | Measured Air | 2.6 | 1128 | Peak Construction | Skagen | 606 Foster Ave, Coquitlam
[24 empty] | Ambient Temp | 17 | 1132 | Trillium Projects | Clyde | 3227 St John St., Port Moody
| Breaking Due Date |  |  |  |  | 2022-09-03 |  | 2022-09-24 |  | 2022-09-24 |  | #VALUE! |  | #VALUE! | [9 empty] | Concrete Temp | 25.5 | 1133 | EllisDon Corporation | Royal Columbian Hospital | 330 E Columbia St, New Westminster
[24 empty] | Sample Time | 8:30 | 1136 | Chandos Construction (TransLink) | SeaBus Terminal (Lonsdale Quay) | 2 Chesterfield Pl, North Vancouver
[24 empty] | Batch Time | 7:51 | 1139 | Kutak Development | One Shaughnessy | 2446 Shaughnessy St., Port Coquitlam
[24 empty] | Initial | H.Y | 1140 | Wesgroup Contracting | 100 Braid | 100 Braid Street, New Westminster
[24 empty] | Set # | 639 | 1141 | Trillium Projects | Sydney | 609 Sydney Ave, Coquitlam
[24 empty] | Pour Details Structure Level Gridlines | Zone16 Footing GL CB/C13 | 1142 | Trillium Projects | Stainsbury | 1986 Stainsbury Ave, Vancouver
[26 empty] | 1143 | Syncra Construction | POPOLO | 2235 East Broadway, Vancouver
[26 empty] | 1144 | Axiom Builders | VAHA | 46 W Hastings St., Vancouver
[24 empty] | # of Samples | 3 | 1145 | Wesgroup Contracting | Dunbar & 39th | 3636 west 39th Ave, Vancouver
[24 empty] | Field Cured 1 |  | 1146 | Anthem Properties | SOCO 1 | 319 North Rd., Coquitlam
[24 empty] | Field Cured 2 |  | 1147 | Trillium Projects | W 33rd | 2502 W 33rd Ave, Vancouver
[24 empty] | Comments |  | 1148 | Cape Construction | Mansion | 477 W 63rd Ave., Vancouver
[26 empty] | 1149 | The Haebler Group | Ofiswerks | 234 W 3rd Ave., Vancouver
[26 empty] | 1150 | Ventana Construction | Sunrise | 6325 Clarendon St, Vancouver
[26 empty] | 1151 | Amacon Construction | Alaska | 4455 Alaska St., Burnaby
[26 empty] | 1152_B | EllisDon Corporation | Oakridge P1B | 650 W 41st Ave, Vancouver
[26 empty] | 1152_M | EllisDon Corporation | Oakridge P1M | 650 W 41st Ave, Vancouver
[26 empty] | 1153 | Peak Construction | UBC BCR 9 | #57 28 Gray Ave, Vancouver
[26 empty] | 1154 | Performance Builders | Voyce | 5168 Cambie St, Vancouver
[6 empty] | 1 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 3 | 1155 | Amacon Construction | Allison | 1122 Hillside Rd, West Vancouver
[26 empty] | 1156 | Urban One Builders | E 15 | 322 East 15th Ave, Vancouver
[26 empty] | 1157 | Saint Group | Brighouse | 8699 Spires Rd, Richmond
[26 empty] | 1158 | Square Nine Developments | Belvedere | 9675 King George Blvd, Surrey
[26 empty] | 1159_1 | Mann Group | Mountainview | 35706 Marshal Rd, Abbotsford
[26 empty] | 1159_2 | Mann Group | Mary Street | 9322 Mary St, Chilliwack
[26 empty] | 1160 | Wesgroup Contracting | River District - Parcel 14 | 3435 Sawmill Crescent, Vancouver
[26 empty] | 1161 | Trillium Projects | Assembly | 1120 E Georgia St, Vancouver
[26 empty] | 1162 | Bold Construction | E 21 | 1355 E 21st Ave, Vancouver
[26 empty] | 1163 | Cressey Development | 65 Chesterfield | 200 Esplanade, North Vancouver
[26 empty] | 1164 | Cressey Development | Century | 250 E 15th St, North Vancouver
[26 empty] | 1165 | Axiom Builders | Central Park House | 5977 Wilson Avenue, Burnaby
[26 empty] | 1166 | Trillium Projects | Autograph | 5005 Ash St, Vancouver
[26 empty] | 1167_1 | North Oriental Construction | Dansey | 599 Dansey Ave, Coquitlam
[26 empty] | 1167_2 | North Oriental Construction | Revive | 6988 Ash Ave, Vancouver
[26 empty] | 1168 | Ventana Construction | Marine Landing | 8250 Manitoba St, Vancouver
[26 empty] | 1169 | Urban One Builders | Chloe | 6386 East Blvd, Vancouver
[26 empty] | 1170 | Anthem Properties | Wood & Water | 15215 Sitka Drive, Surrey
[26 empty] | 1171 | Millennium Development | 125 E13th | 125 East 13th St., North Vancouver
[26 empty] | 1172 | Wesgroup Contracting | King Edward | 11 King Edward St., Coquitlam
[26 empty] | 1173 | Trillium Projects | Quinn | 9456 134 St., Surrey
[26 empty] | 1174 | Contour Development | Oakmont | 8486 Oak St., Vancouver
[26 empty] | 1175 | Anthem Properties | Standard | 6420 Willingdon Ave, Burnaby
[26 empty] | 1176 | Ventana Construction | Keith Drive | 2150 Keith Dr., Vancouver
[26 empty] | 1177 | Kanin Construction | Kirya | 1188 Burnaby St., Burnaby
[26 empty] | 1178 | Axiom Builders | Kathleen | 5980 Kathleen Ave, Burnaby
1179
1180
1181
1182
1183
1184
1185
1186
1187
1188
1189
1190
1191
1192
1193
1194
1195
1196
1197
1198
1199
1200
1201
1202
1203
1204
1205
1206
1207
1208
1209
1210
1211
1212
1213
1214
1215
1216
1217
1218
1219
1220
1221
1222
1223
1224
1225
1226
1227
1228
1229
1230
1231
1232
1233
1234
1235
1236
1237
1238
1239
1240
1241
1242
1243
1244
1245
1246
1247
1248
1249
1250
1251
1252
1253
1254
1255
1256
1257
1258
1259
1260
1261
1262
1263
1264
1265
1266
1267
1268
1269
1270
1271
1272
1273
1274
1275
1276
1277
1278
1279
1280
1281
1282
1283
1284
1285
1286
1287
1288
1289
1290
1291
1292
1293
1294
1295
1296
1297
1298
1299
1300

## 1112-640
[26 empty] | 1019_1 | Better Builder
[26 empty] | 1019_2 | TMH Construction
1044
[24 empty] | Job # | 1112 | 1072_14 | Maple Reinders | Annacis Island Waste Water Treatment Plant | 1351 Lindsey Place, Delta
[24 empty] | Date | 2022-08-27 | 1072_17 | Three O Six | Greenhouse | 4526 80 St Delta, BC
[24 empty] | Ticket # | 83313379 | 1100 | Urban One Builders | ParkWest | 1633 Capilano Rd, North Vancouver
[24 empty] | Truck # | 61046 | 1101 | Wesgroup Contracting | River District Parcel 16.2 | 3438 Sawmill Crescent, Vancouver
[24 empty] | Load Vol. | 10 | 1102_2 | The Haebler Group | Wall House | 4475 W 1st Ave, Vancouver
ON-SITE CONCRETE REPORT | [23 empty] | Cumulative Vol. | 180 | 1102_3 | The Haebler Group | TOMO on Main | 198 Ontario Pl., Vancouver
|  |  | (CSA A23.2-9c) | [18 empty] | CR3/17 |  | Total Vol. | 330 | 1105 | Lark Group | Legion Veterans Village | 10626 City Pkwy, Surrey
| CLIENT NAME |  |  |  | PROJECT LOCATION | [13 empty] | DATE |  |  |  |  | Supplier | Lafarge | 1106 | Urban One Builders | One Central | 13350 Central Ave, Surrey
| EllisDon Corporation |  |  |  | 650 W 41st Ave, Vancouver | [13 empty] | 2022-08-27 |  |  |  |  | Mix # | RMXGG25W31V | 1110 | Centreville Construction | Brentwood 1B | 4828 Lougheed Hwy, Burnaby
| TICKET NO. | 83313379 |  |  | TRUCK NO. |  |  | 61046 |  |  | JOB NO. |  | 1112 |  |  | Oakridge P1NW | [7 empty] | Spec Strength | 25 | 1112 | EllisDon Corporation | Oakridge P1NW | 650 W 41st Ave, Vancouver
| LOAD VOL. | 10 |  | m3 | CUM VOL. |  |  | 180 |  | m3 | TOTAL VOL. |  | 330 |  | m3 | SUPPLIER |  |  | Lafarge |  |  |  |  | Days | 28 | 1112_2 | Kanin Construction | Oakridge Building 1 & 2 | 650 W 41st Ave, Vancouver
| MIX NO. | RMXGG25W31V |  |  | SPEC. STRENGTH |  |  | 25 |  | MPa | DAYS |  | 28 | [5 empty] | AGG. SIZE |  | 20 |  | mm | Aggregate Size | 20 | 1113 | EllisDon Corporation | Oakridge P1NE | 650 W 41st Ave, Vancouver
| ADMIXTURE | 909016 |  |  | DOSAGE |  |  | 1 |  | lit/m3 | MOULD SIZE (") |  |  | 4x8 | MOULD TYPE |  |  | Plastic | BOX TYPE |  | Uninsulated |  |  | Admixture | 909016 | 1114 | EllisDon Corporation | Oakridge P1S | 650 W 41st Ave, Vancouver
| SPEC. SLUMP | 110 | ±20 | mm | SPEC. AIR |  |  | 2 (1 ~ 4) |  | % | AMBIENT TEMP. |  |  | Max: | 19 | Min: | 17 | °C | FIELD CURING BOX TEMP. |  |  |  |  | Dosage | 1 | 1115 | Polygon Construction | Sophora | 1182 Westwood St, Coquitlam
| MEAS. SLUMP | 120 |  | mm | MEAS. AIR |  |  | 2.3 |  | % | CONCRETE TEMP. |  |  |  | 26 | °C |  |  | Max: |  | Min |  | °C | Mould Size | 4x8 | 1116_1 | Centreville Construction | Galleria Lot 1 | 8668 Hazelbridge Way, Richmond
| SAMPLE TIME | 9:30 |  |  | CAST TIME |  |  | 9:40 |  |  | BATCH TIME |  |  | 8:46 |  | INITIAL |  | H.Y | SET NO. |  | 640 |  |  | Mould Type | Plastic | 1116_2 | Centreville Construction | Galleria Lot 2 | 3328 No. 3 Rd, Richmond
| POUR DETAILS (STRUCTURE, LEVEL, GRIDLINES) |  |  |  | Zone16 Footing GL CB/C13 | [18 empty] | Box Type | Uninsulated | 1120 | Wesgroup Contracting | Brewery District Building 7 | 268 Nelson's Court, New Westminster
| COMMENTS | [22 empty] | Spec Slump | 110 | 1123 | Syncra Construction | Ovation | 823 Carnarvon St, New Westminster
[24 empty] | Slump Tolerance | ±20 | 1124 | Lark Group | Dogwood Facility | 700 W 57th Ave., Vancouver
| NO. OF SAMPLES |  | 3 |  |  | A |  | B |  | C |  | D |  | E |  | Field Cured |  | Field Cured |  | Field Cured |  | Field Cured |  | Spec Air | 2 (1 ~ 4) | 1126 | Lark Group | 150 W 4th | 150 W 4th Ave, Vancouver
| AGE OF SAMPLES |  | 28 |  |  | 7 | days | 28 | days | 28 | days | [12 empty] | Measured Slump | 120 | 1127 | MetroCan Construction | Soleil | 1588 Johnston Rd, White Rock
[24 empty] | Measured Air | 2.3 | 1128 | Peak Construction | Skagen | 606 Foster Ave, Coquitlam
[24 empty] | Ambient Temp | 18 | 1132 | Trillium Projects | Clyde | 3227 St John St., Port Moody
| Breaking Due Date |  |  |  |  | 2022-09-03 |  | 2022-09-24 |  | 2022-09-24 |  | #VALUE! |  | #VALUE! | [9 empty] | Concrete Temp | 26 | 1133 | EllisDon Corporation | Royal Columbian Hospital | 330 E Columbia St, New Westminster
[24 empty] | Sample Time | 9:30 | 1136 | Chandos Construction (TransLink) | SeaBus Terminal (Lonsdale Quay) | 2 Chesterfield Pl, North Vancouver
[24 empty] | Batch Time | 8:46 | 1139 | Kutak Development | One Shaughnessy | 2446 Shaughnessy St., Port Coquitlam
[24 empty] | Initial | H.Y | 1140 | Wesgroup Contracting | 100 Braid | 100 Braid Street, New Westminster
[24 empty] | Set # | 640 | 1141 | Trillium Projects | Sydney | 609 Sydney Ave, Coquitlam
[24 empty] | Pour Details Structure Level Gridlines | Zone16 Footing GL CB/C13 | 1142 | Trillium Projects | Stainsbury | 1986 Stainsbury Ave, Vancouver
[26 empty] | 1143 | Syncra Construction | POPOLO | 2235 East Broadway, Vancouver
[26 empty] | 1144 | Axiom Builders | VAHA | 46 W Hastings St., Vancouver
[24 empty] | # of Samples | 3 | 1145 | Wesgroup Contracting | Dunbar & 39th | 3636 west 39th Ave, Vancouver
[24 empty] | Field Cured 1 |  | 1146 | Anthem Properties | SOCO 1 | 319 North Rd., Coquitlam
[24 empty] | Field Cured 2 |  | 1147 | Trillium Projects | W 33rd | 2502 W 33rd Ave, Vancouver
[24 empty] | Comments |  | 1148 | Cape Construction | Mansion | 477 W 63rd Ave., Vancouver
[26 empty] | 1149 | The Haebler Group | Ofiswerks | 234 W 3rd Ave., Vancouver
[26 empty] | 1150 | Ventana Construction | Sunrise | 6325 Clarendon St, Vancouver
[26 empty] | 1151 | Amacon Construction | Alaska | 4455 Alaska St., Burnaby
[26 empty] | 1152_B | EllisDon Corporation | Oakridge P1B | 650 W 41st Ave, Vancouver
[26 empty] | 1152_M | EllisDon Corporation | Oakridge P1M | 650 W 41st Ave, Vancouver
[26 empty] | 1153 | Peak Construction | UBC BCR 9 | #57 28 Gray Ave, Vancouver
[26 empty] | 1154 | Performance Builders | Voyce | 5168 Cambie St, Vancouver
[6 empty] | 1 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 3 | 1155 | Amacon Construction | Allison | 1122 Hillside Rd, West Vancouver
[26 empty] | 1156 | Urban One Builders | E 15 | 322 East 15th Ave, Vancouver
[26 empty] | 1157 | Saint Group | Brighouse | 8699 Spires Rd, Richmond
[26 empty] | 1158 | Square Nine Developments | Belvedere | 9675 King George Blvd, Surrey
[26 empty] | 1159_1 | Mann Group | Mountainview | 35706 Marshal Rd, Abbotsford
[26 empty] | 1159_2 | Mann Group | Mary Street | 9322 Mary St, Chilliwack
[26 empty] | 1160 | Wesgroup Contracting | River District - Parcel 14 | 3435 Sawmill Crescent, Vancouver
[26 empty] | 1161 | Trillium Projects | Assembly | 1120 E Georgia St, Vancouver
[26 empty] | 1162 | Bold Construction | E 21 | 1355 E 21st Ave, Vancouver
[26 empty] | 1163 | Cressey Development | 65 Chesterfield | 200 Esplanade, North Vancouver
[26 empty] | 1164 | Cressey Development | Century | 250 E 15th St, North Vancouver
[26 empty] | 1165 | Axiom Builders | Central Park House | 5977 Wilson Avenue, Burnaby
[26 empty] | 1166 | Trillium Projects | Autograph | 5005 Ash St, Vancouver
[26 empty] | 1167_1 | North Oriental Construction | Dansey | 599 Dansey Ave, Coquitlam
[26 empty] | 1167_2 | North Oriental Construction | Revive | 6988 Ash Ave, Vancouver
[26 empty] | 1168 | Ventana Construction | Marine Landing | 8250 Manitoba St, Vancouver
[26 empty] | 1169 | Urban One Builders | Chloe | 6386 East Blvd, Vancouver
[26 empty] | 1170 | Anthem Properties | Wood & Water | 15215 Sitka Drive, Surrey
[26 empty] | 1171 | Millennium Development | 125 E13th | 125 East 13th St., North Vancouver
[26 empty] | 1172 | Wesgroup Contracting | King Edward | 11 King Edward St., Coquitlam
[26 empty] | 1173 | Trillium Projects | Quinn | 9456 134 St., Surrey
[26 empty] | 1174 | Contour Development | Oakmont | 8486 Oak St., Vancouver
[26 empty] | 1175 | Anthem Properties | Standard | 6420 Willingdon Ave, Burnaby
[26 empty] | 1176 | Ventana Construction | Keith Drive | 2150 Keith Dr., Vancouver
[26 empty] | 1177 | Kanin Construction | Kirya | 1188 Burnaby St., Burnaby
[26 empty] | 1178 | Axiom Builders | Kathleen | 5980 Kathleen Ave, Burnaby
1179
1180
1181
1182
1183
1184
1185
1186
1187
1188
1189
1190
1191
1192
1193
1194
1195
1196
1197
1198
1199
1200
1201
1202
1203
1204
1205
1206
1207
1208
1209
1210
1211
1212
1213
1214
1215
1216
1217
1218
1219
1220
1221
1222
1223
1224
1225
1226
1227
1228
1229
1230
1231
1232
1233
1234
1235
1236
1237
1238
1239
1240
1241
1242
1243
1244
1245
1246
1247
1248
1249
1250
1251
1252
1253
1254
1255
1256
1257
1258
1259
1260
1261
1262
1263
1264
1265
1266
1267
1268
1269
1270
1271
1272
1273
1274
1275
1276
1277
1278
1279
1280
1281
1282
1283
1284
1285
1286
1287
1288
1289
1290
1291
1292
1293
1294
1295
1296
1297
1298
1299
1300